Handheld Pulse Oximeter

| S.N. | Purchaser’s Specifications |
| --- | --- |
|  | Hand Held Pulse Oximeter |
|  | Manufacturer |
|  | Brand |
|  | Type/Model |
|  | Country of Origin |
| 1 | Description of Function |
| 1.1 | Pulse oximeter for SPO2 and Pulse Rate |
| 2 | Operational Requirements |
| 2.1 | Pulse Oximeter with Adult, Pediatric and Neonate SPO2 Probe |
| 3 | System Configuration |
| 3.1 | Pulse Oximeter with Adult, Pediatric and Neonate SPO2 Probe |
| 4 | Technical Specifications |
| 4.1 | Should be small in volume, light weight and convenient in carrying |
| 4.2 | Should display SPO2 value, pulse rate value along with bar graph and pulse waveform display |
| 4.3 | Should work on rechargeable lithium battery |
| 4.5 | Should have facility of adjustment of Screen brightness |
| 4.6 | Should have pulse sound indication and alarm function |
| 4.7 | Should have SPO2 value and pulse rate value record function. |
| 4.8 | Should have facility of Real Time Data transfer to the computer |
| 4.9 | Should have indication of low voltage and low power consumption. |
| 4.10 | SPO2 Measurement |
|  | Measuring Range: 0%~100% with ±2% accuracy |
|  | Resolution: 1% |
| 4.11 | Pulse Rate Measurement |
|  | Measuring Range: 30 bpm~250bpm with accuracy of ±2 bpm |
|  | Resolution: 1 bpm |
| 4.12 | Should have alarm function with alarm limits adjustable |
| 5.0 | System Configuration Accessories, Spares and Consumables. |
| 5.1 | All standard accessories, consumables and parts required to operate the equipment, including all standard tools and cleaning and lubrication materials to be included in the offer. |
| 6 | Operating Environment |
| 6.1 | The system offered must be designed to operate normally under the condition of the purchaser’s country. The conditions include power supply, climate, temperature, and humidity, etc. |
| 7 | Standards and Safety Requirements |
| 7.1 | Must submit ISO 13485:2003/AC:2007 AND |
| 7.2 | CE (93/42 EEC Directives) and USFDA approved product certificate |
| 8 | User Training |
| 8.1 | Should provide user training |
| 9 | Warranty |
| 9.1 | Comprehensive warranty for 1 year after acceptance. |
| 10 | Maintenance Service During Warranty Period |
| 10.1 | Standard warranty conditions are applicable. |
| 11 | Installation Inspection and Commissioning |
| 11.1 | Must supply preassembled unit, ready to use. |
| 12 | Documentation |
| 12.1 | User/Instructions manual shall be provided in English. |