Sphygmomanometer (BP apparatus)

| S.N. | Purchaser’s Specifications |  |
| --- | --- | --- |
|  | Sphygmomanometer (BP apparatus) |  |
|  | Manufacturer |  |
|  | Brand |  |
|  | Type / Model |  |
|  | Country of Origin |  |
| 1 | Description of Function |  |
| 1.1 | Sphygmomanometer is a device used to measure blood pressure, composed of an inflatable cuff to restrict blood flow, and a mechanical manometer to measure the pressure. |  |
| 2 | Operational Requirements |  |
| 2.1 | Aneroid sphygmomanometer having a dial to show clear numbers and pointer / needle for measurement of pressure. |  |
| 3 | System Configuration |  |
| 3.1 | - Aneroid sphygmomanometer - Cuffs for child size and for adult size (regular) - Inflation bulb - Carrying pouch |  |
| 4 | Technical Specifications |  |
| 4.1 | Packed in easy carrying high quality pouch made of waterproof cloth to accommodate cuff, and inflation bulb. |  |
| 4.2 | Gauge to be calibrated in 2 mm Hg units. |  |
| 4.3 | Must provide blood pressure cuffs for child size and for adult size (regular). |  |
| 5 | Accessories, spares and consumables |  |
| 5.1 | All standard accessories/consumables/parts required for the proper operation of the above item shall be included in the offer. Bidders shall specify, in a separate Excel worksheet, the quantity and details of any items included in this offer which have not been specified in this Technical Specifications Form. |  |
| 6 | Operating Environment |  |
| 6.1 | The product offered shall be designed to be stored and to operate normally under the conditions of the purchaser's country. The conditions include Climate, Temperature, Humidity, etc. |  |
| 7 | Standards and Safety Requirements |  |
| 7.1 | Must submit ISO 9001 or ISO 13485:2003/AC: 2007. |  |
| 8 | User Training |  |
| 8.1 | Not applicable. |  |
| 9 | Warranty |  |
| 9.1 | Warranty for 1year. |  |
| 10 | Maintenance Service During Warranty Period |  |
| 10.1 | Standard warranty conditions are applicable. |  |
| 11 | Installation and Commissioning |  |
| 11.1 | Must supply preassembled unit, ready to use. |  |
| 12 | Documentation |  |
| 12.1 | User’s manual in English |  |