DLC-Counter, Manual

| S.N. | Purchaser’s Specifications |
| --- | --- |
|  | DLC-Counter, Manual |
|  | Manufacturer |
|  | Brand |
|  | Type / Model |
|  | Country of Origin |
| 1 | Description of Function |
| 1.1 | A differential cell counter in which the percentages of blood cell types are calculated as well as the total number of cells. |
| 2 | Operational Requirements |
| 2.1 | Manual type DLC-Counter. |
| 3 | System Configuration |
| 3.1 | DLC-Counter, Manual, complete unit. |
| 4 | Technical Specifications |
| 4.1 | It must be a differential cell counter. |
| 4.2 | Must provide blood cell counting and simple calculations including percentage. |
| 4.3 | Each unit counts up to 999 and last unit totalize the different cells. |
| 4.4 | The bell automatically sounds at very 100. |
| 4.5 | It must be 6unit-8keys and totalizer. |
| 4.6 | It has a dual knob on both ends to facilitate easy resetting. |
| 5 | Accessories, spares and consumables |
| 5.1 | All standard accessories, consumables and parts required to operate the equipment, including all standard tools and cleaning and lubrication materials, to be included in the offer. Bidders must specify the quantity of every item included in their offer (including items not specified above). |
| 6 | Operating Environment |
| 6.1 | The system offered shall be designed to operate normally under the conditions of the purchaser's country. The conditions include Climate, Temperature, Humidity, etc. |
| 7 | Standards and Safety Requirements |
| 7.1 | Must submit ISO13485:2003/AC:2007 for Medical Devices AND |
| 7.2 | CE (EEC Directives) or USFDA approved product certificate. |
| 8 | User Training |
| 8.1 | Supply shall include user training. |
| 9 | Warranty |
| 9.1 | Comprehensive warranty for 1 year after acceptance. |
| 10 | Maintenance Service During Warranty Period |
| 10.1 | During the warranty period supplier must ensure corrective/breakdown maintenance whenever required. |
| 11 | Installation and Commissioning |
| 11.1 | Supplier must accomplish proper installation and commissioning of the equipment on site. |
| 12 | Documentation |
| 12.1 | User (Operating) manual in English. |
| 12.2 | Service (Technical / Maintenance) manual in English. |
| 12.3 | Certificate of calibration and inspection. |
| 12.4 | List of important spare parts and accessories with their part numbers and costing. |