Micropipette Set

| S.N. | Purchaser’s Specifications |
| --- | --- |
|  | Micropipette Set |
|  | Manufacturer |
|  | Brand |
|  | Type / Model |
|  | Country of Origin |
| 1 | Description of Function |
| 1.1 | Micropipettes are micro tools constructed from glass or anti corrosive material tubing for microinjection and micromanipulation purposes. |
| 2 | Operational Requirements |
| 2.1 | Required in various sizes and compatible with all brands of tips. |
| 3 | System Configuration |
| 3.1 | Micropipette Set of sizes 10ul-100ul. (10, 20, 50, 100µl) with all standard accessories. |
| 4 | Technical Specifications |
| 4.1 | Micropipettes required in following sizes: 10ul-100ul (10, 20, 50, 100µl). |
| 4.2 | Suitable for all brands of tips. |
| 4.3 | Adjustable for variable volume. |
| 4.4 | Offer high accuracy and precision. |
| 4.5 | With tip ejector mechanism. |
| 4.6 | Made of corrosion proof material. |
| 4.7 | Fully autoclaveable at 121 0C. |
| 5 | Accessories, spares and consumables |
| 5.1 | Accessories: - Colour coded tip boxes and rack mounts for proper storage - Pipette holder |
| 5.2 | All standard accessories, consumables and parts required to operate the equipment, including all standard tools and cleaning and lubrication materials, to be included in the offer. Bidders must specify the quantity of every item included in their offer (including items not specified above). |
| 6 | Operating Environment |
| 6.1 | The system offered shall be designed to be stored and to operate normally under the conditions of the purchaser's country. The conditions include Climate, Temperature, Humidity, etc. |
| 7 | Standards and Safety Requirements |
| 7.1 | Must submit ISO13485:2003/AC:2007 for Medical Devices AND |
| 7.2 | CE (EEC Directives) or USFDA approved product certificate. |
| 8 | User Training |
| 8.1 | Supply shall include user training. |
| 9 | Warranty |
| 9.1 | Comprehensive warranty for 1 year after acceptance. |
| 10 | Maintenance Service During Warranty Period |
| 10.1 | Standard warranty conditions are applicable. |
| 11 | Installation and Commissioning |
| 11.1 | Must supply preassembled unit ready to use. |
| 12 | Documentation |
| 12.1 | User (Operating) manual in English. |
| 12.2 | Service (Technical / Maintenance) manual in English. |
| 12.3 | Certificate of calibration and inspection. |
| 12.4 | List of important spare parts and accessories with their part numbers and costing. |