Rack ESR, 5 positions

| S.N. | Purchaser’s Specifications |
| --- | --- |
|  | Rack ESR, 5 positions |
|  | Manufacturer |
|  | Brand |
|  | Type / Model |
|  | Country of Origin |
| 1 | Description of Function |
| 1.1 | It is used for ESR technique and with appropriate tubes. |
| 2 | Operational Requirements |
| 2.1 | It shall be minimum 5 positions ESR rack. |
| 3 | System Configuration |
| 3.1 | Rack ESR, 5 positions complete unit. |
| 4 | Technical Specifications |
| 4.1 | Complete set-up to measure erythrocyte sedimentation rate. |
| 4.2 | Stand with valves to hold pipettes. |
| 4.3 | Shall provide positions to hold minimum 5 test tubes. |
| 4.4 | Shall come with pipettes, with graduation, 0 to 200mm |
| 4.5 | Internal diameter of pipettes: 2.6mm |
| 4.6 | Stand shall be made of stainless steel or plastic. |
| 5 | Accessories, spares and consumables |
| 5.1 | Accessories: - 1 x Set of 5 reusable test tubes - 1 x Set of 5 spare reusable test tubes - 1 x Aspiration system |
| 6 | Operating Environment |
| 6.1 | The product offered shall be designed to be stored and to operate normally under the conditions of the purchaser's country. The conditions include Climate, Temperature, Humidity, etc. |
| 7 | Standards and Safety Requirements |
| 7.1 | Must submit ISO 9001 or ISO 13485:2003/AC:2007 AND |
| 8 | User Training |
| 8.1 | Not applicable. |
| 9 | Warranty |
| 9.1 | Comprehensive warranty for 1 year after acceptance. |
| 10 | Maintenance Service During Warranty Period |
| 10.1 | Standard warranty conditions are applicable. |
| 11 | Installation and Commissioning |
| 11.1 | Must supply preassembled unit, ready to use. |
| 12 | Documentation |
| 12.1 | User’s manual shall be supplied in English. |