Ball, Medicine, Set

| S.N. | Purchaser’s Specifications |  |
| --- | --- | --- |
|  | Ball, Medicine, Set |  |
|  | Manufacturer |  |
|  | Brand |  |
|  | Type/Model |  |
|  | Country of Origin |  |
| 1 | Description of Function |  |
| 1.1 | A medicine ball (also known as an exercise ball, a med ball, or a fitness ball) is a weighted ball, roughly the diameter of the shoulders in size, is used for therapeutic body training. |  |
| 2 | Operational Requirements |  |
| 2.1 | Waterproof, long lasting durable medicine ball. |  |
| 3 | System Configuration |  |
| 3.1 | Medicine Ball of different weights. |  |
| 4 | Technical Specifications |  |
| 4.1 | Made from rubber /leather/vinyl covered nylon cloth, triple stitched waterproof and are easy to grip. |  |
| 4.2 | Diameter approx. 35cm |  |
| 4.3 | Weights: 2, 4 and 5 Kg. |  |
| 5 | Accessories, spares and consumables |  |
| 5.1 | Accessories: - Portable carrying case. |  |
| 6 | Operating Environment |  |
| 6.1 | The system offered shall be designed to store and to operate normally under the conditions of the purchaser's country. The conditions include Climate, Temperature, Humidity, etc. |  |
| 7 | Standards and Safety Requirements |  |
| 7.1 | Must submit ISO 9001 or ISO13485:2003/AC:2007 AND |  |
| 7.2 | CE or USFDA approved product certificate. |  |
| 8 | User Training |  |
| 8.1 | Supply shall include user training. |  |
| 9 | Warranty |  |
| 9.1 | Warranty for 1 year. |  |
| 10 | Maintenance Service During Warranty Period |  |
| 10.1 | Standard warranty conditions are applicable. |  |
| 11 | Installation, Inspections and Commissioning |  |
| 11.1 | Must supply ready pack. |  |
| 12 | Documentation |  |
| 12.1 | User (Operating) manual to be supplied in English. |  |