Cycle Exerciser, Static

| S.N. | Purchaser’s Specifications |  |
| --- | --- | --- |
|  | Cycle Exerciser, Static |  |
|  | Manufacturer |  |
|  | Brand |  |
|  | Type/Model |  |
|  | Country of Origin |  |
| 1 | Description of Function |  |
| 1.1 | It is an active exercise unit. |  |
| 2 | Operational Requirements |  |
| 2.1 | Capacity approx. 150kgs. |  |
| 3 | System Configuration |  |
| 3.1 | Static Cycle Exerciser. |  |
| 4 | Technical Specifications |  |
| 4.1 | Tubular steel frame on balanced legs with four rubber heavy-duty tips. |  |
| 4.2 | Fitted with one hard rubber tyre wheel, standard chain and a socket. |  |
| 4.3 | Seat must be adjustable and comfortable. |  |
| 4.4 | Must be fitted with a ball bearing resistance roller, which permits controlled movement in riding. |  |
| 5 | Accessories, spares and consumables |  |
| 5.1 | All standard accessories, consumables and parts required to operate the equipment, including all standard tools and cleaning and lubrication materials, to be included in the offer. Bidders must specify the quantity of every item included in their offer (including items not specified above). |  |
| 6 | Operating Environment |  |
| 6.1 | The system offered shall be designed to store and to operate normally under the conditions of the purchaser's country. The conditions include Climate, Temperature, Humidity, etc. |  |
| 7 | Standards and Safety Requirements |  |
| 7.1 | Must submit ISO 9001 or ISO13485:2003/AC:2007 AND |  |
| 7.2 | CE or USFDA approved product certificate. |  |
| 8 | User Training |  |
| 8.1 | Must provide user training (including how to use and maintain the equipment). |  |
| 9 | Warranty |  |
| 9.1 | Comprehensive warranty for 1 year. |  |
| 10 | Maintenance Service During Warranty Period |  |
| 10.1 | Standard warranty conditions are applicable. |  |
| 11 | Installation and Commissioning |  |
| 11.1 | Must supply preassembled unit ready to use. |  |
| 12 | Documentation |  |
| 12.1 | User (Operating) and Technical/Maintenance manuals to be supplied in English. |  |
| 12.2 | List of important spare parts and accessories with their part numbers and costing. |  |