Goniometer (180 degree), Steel

| S.N. | Purchaser’s Specifications |  |
| --- | --- | --- |
|  | Goniometer (180 degree), Steel |  |
|  | Manufacturer |  |
|  | Brand |  |
|  | Type/Model |  |
|  | Country of Origin |  |
| 1 | Description of Function |  |
| 1.1 | In occupational therapy and physical therapy, a goniometer is a tool which measures a joint's axis and range of motion. |  |
| 2 | Operational Requirements |  |
| 2.1 | A simple and accurate device to measure joint's range of motion. Stainless steel construction. |  |
| 3 | System Configuration |  |
| 3.1 | Goniometer (180 degree) with a suitable carrying bag/pouch. |  |
| 4 | Technical Specifications |  |
| 4.1 | Stainless steel construction. |  |
| 4.2 | Two 180 degree scales marked in 5° increments in opposite direction |  |
| 4.3 | Measures about 50 x 200mm |  |
| 4.4 | A linear scale in inches and centimetres is on the arm. |  |
| 4.5 | Shall have ability for convenient reading. |  |
| 5 | Accessories, spares and consumables |  |
| 5.1 | Accessories: - Carrying bag/pouch – 1 no. |  |
| 6 | Operating Environment |  |
| 6.1 | The system offered shall be designed to store and to operate normally under the conditions of the purchaser's country. The conditions include Climate, Temperature, Humidity, etc. |  |
| 7 | Standards and Safety Requirements |  |
| 7.1 | Must submit ISO 9001 or ISO13485:2003/AC:2007 AND |  |
| 7.2 | CE or USFDA approved product certificate. |  |
| 8 | User Training |  |
| 8.1 | Must provide user training (including how to use and maintain the equipment). |  |
| 9 | Warranty |  |
| 9.1 | Comprehensive warranty for 1 year. |  |
| 10 | Maintenance Service During Warranty Period |  |
| 10.1 | Standard warranty conditions are applicable. |  |
| 11 | Installation and Commissioning |  |
| 11.1 | Must supply preassembled unit ready to use. |  |
| 12 | Documentation |  |
| 12.1 | User (Operating) manual in English |  |
| 12.2 | Service (Technical / Maintenance) manual in English |  |
| 12.3 | List of important spare parts and accessories with their part numbers and costing. |  |